## OS Malevich 2.8
Malfunction
Malfunction Restore / Alarm Restore / Common Event |  |  |  | Unique code
Alarm
Arming/Disarming Event
| Event Type | Event description | Contact ID Code | SIA Code | SMS Pattern | if EN 50131 enabled (in development) |  | App Key
Hub Events
| Malfunction | external power failure | E301 | AT | PowerOff |  |  | M_21_00
| Malfunction Restore | external power restored | R301 | AR | PowerOn |  |  | M_21_01
| Malfunction | battery low | E302 | YT | HubBatteryLow |  |  | M_21_02
| Malfunction Restore | battery charged | R302 | YR | HubBatteryNormal |  |  | M_21_03
| Malfunction | lid open | E145 | TA | HubTamperOpened |  |  | M_21_04
| Malfunction Restore | lid closed | R145 | TR | HubTamperClosed |  |  | M_21_05
| Malfunction | radio-frequency interference level is high | E344 | XQ | HighNoise868 |  |  | M_21_08
| Malfunction Restore | radio-frequency interference level is OK | R344 | XH | NormalNoise868 |  |  | M_21_09
| Alarm | Hub is offline. Check mobile signal strength and the Ethernet port | E350 | YC | ServerDisconnect |  |  | M_21_0A
| Alarm Restore | Hub is online again | R350 | YK | ServerConnect |  |  | M_21_0B
| Common Event | turned off | E308 | ZZ | not send via SMS |  |  | M_21_0C
| Common Event | [device] was switched on | E305 | ZY | not send via SMS |  |  | M_21_0D
| Common Event | [device] was reset to factory settings | E306 | XI | not send via SMS |  |  | M_21_0E
| Common Event | updating firmware... | not send via CID | RB | not send via SMS |  |  | M_21_10
| Common Event | firmware updated | not send via CID | RS | not send via SMS |  |  | M_21_11
| Malfunction | connection to the monitoring station is lost. Check mobile signal strength and the Ethernet port on the Hub | R354 | YS | not send via SMS |  |  | M_21_13
| Malfunction | battery missing | E300 | YM | HubBatteryDisconnected |  |  | M_21_15
| Malfunction Restore | battery connected after missing | R300 | YA | HubBatteryConnected |  |  | M_21_16
| not sent to the App | new settings | E627 | YG | not send via SMS |  |  | not sent to the App
| Malfunction | high level of interference at Wings frequencies | E344 | XQ | not send via SMS |  |  | M_21_17
| Malfunction Restore | interference level at Wings frequencies is OK | R344 | XH | not send via SMS |  |  | M_21_18
Auto Arming Events
| Arming/Disarming Event | Disarmed automatically, scenario [scenario] | E403 | OA | DisarmedScheduledScenario |  |  | M_2A_20
| Arming/Disarming Event | Armed automatically, scenario [scenario] | R403 | CA | FullArmedScheduledScenario |  |  | M_2A_21
| Arming/Disarming Event | Night mode activated automatically, scenario [scenario] | R403 | NC | PartialArmedScheduledScenario |  |  | M_2A_22
| Arming/Disarming Event | unsuccessful arming attempt, scenario [scenario] | E455 | CC | UnsuccessfulFullArmedScheduledScenario |  |  | M_2A_24
| Arming/Disarming Event | unsuccessful Night mode activation attempt, scenario [scenario] | E455 | NE | UnsuccessfulPartialArmedScheduledScenario |  |  | M_2A_25
| Arming/Disarming Event | The system has been armed with malfunctions automatically, scenario [scenario] | R403 | AF | OverrideFullArmedScheduledScenario |  |  | M_2A_26
| Arming/Disarming Event | Night mode activated with malfunctions automatically, scenario [scenario] | R403 | NB | OverridePartialArmedScheduledScenario |  |  | M_2A_27
| Arming/Disarming Event | Night mode deactivated automatically, scenario [scenario] | E403 | NO | PerimeterDisarmScheduledScenario |  |  | M_2A_28
| Arming/Disarming Event | [group] has been disarmed automatically, scenario [scenario] | E403 | OB | GroupDisarmedScheduledScenario or SelectiveDisarmedScheduledScenario |  |  | M_2A_29
| Arming/Disarming Event | [group] has been armed automatically, scenario [scenario] | R403 | CB | GroupArmedScheduledScenario or SelectiveArmedScheduledScenario |  |  | M_2A_2A
| Arming/Disarming Event | [group] has been armed with malfunctions automatically, scenario [scenario] | R403 | AF | OverrideGroupArmedScheduledScenario or OverrideSelectiveArmedScheduledScenario |  |  | M_2A_2D
| Arming/Disarming Event | [group] unsuccessful arming attempt, scenario [scenario] | E455 | CD | UnsuccessfulSelectiveArmedScheduledScenario |  |  | M_2A_2E
Common Device Events
| Malfunction | lid open, [device] in [room] | E144 | TA | TamperOpened |  |  | M_ABS_00
| Malfunction Restore | lid closed, [device] in [room] | R144 | TR | TamperClosed |  |  | M_ABS_01
| Malfunction | low battery, [device] in [room] | E384 | XT | BatteryLow | E144 | TA | M_ABS_02
| Malfunction Restore | battery charged, [device] in [room] | R384 | XR | BatteryNormal | R144 | TR | M_ABS_03
| Malfunction | connection lost, [device] in [room] | E381 | XL | SensorLost | E144 | TA | M_ABS_04
| Malfunction Restore | connection restored, [device] in [room] | R381 | XC | SensorNorm | R144 | TR | M_ABS_05
GlassProtect
| Alarm | glass break detected, [device] in [room] | E130 | BA | GlassBreak |  |  | M_04_20
| Alarm | external contact open, [device] in [room] | E130 | BA | ExtSwOpened |  |  | M_04_22
| Alarm Restore | external contact closed, [device] in [room] | R130 | BR | AlarmRecovery |  |  | M_04_23
LeakProtect
| Alarm | water leak detected, [device] in [room] | E154 | WA | IsLeaking |  |  | M_05_20
| Alarm Restore | no water leak detected, [device] in [room] | R154 | WH | LeakNorm |  |  | M_05_21
| Malfunction | [device] moved in [room] | E144 | SM | SensorAcc |  |  | M_05_22
MotionProtect & MotionProtect Plus
| Alarm | motion detected, [device] in [room] | E130 | BA | Motion |  |  | M_02_20, M_0E_20
MotionProtect Outdoor
| Alarm | motion detected, [device] in [room] | E130 | BA | Motion |  |  | M_13_20
| Malfunction | masking detected, check the [device] in [room] | E137 | TA | MaskingDetected | E144 | TA | M_13_22
| Malfunction Restore | masking is not detected, [device] in [room] | R137 | TR | MaskingNorm | R144 | TR | M_13_23
| Malfunction | external power failure, [device] in [room] | E337 | YP | ExtPowerMissing |  |  | M_13_24
| Malfunction Restore | external power restored, [device] in [room] | R337 | YQ | ExtPowerNorm | YQ M_13_25 |  | M_13_25
MotionProtect Curtain
| Alarm | motion detected, [device] in [room] | E130 | BA | Motion |  |  | M_06_20
| Malfunction | masking detected, check the [device] in [room] | E137 | TA | MaskingDetected | E144 | TA | M_06_22
| Malfunction Restore | masking is not detected, [device] in [room] | R137 | TR | MaskingNorm | R144 | TR | M_06_23
MotionCam
| Alarm | motion detected, [device] in [room] | E130 | BA | Motion |  |  | M_0D_20
| Malfunction | [device] in [room] has lost connection with hub over photos communication channel | E391 | PF | DataChannelLost | E144 | TA | M_0D_30
| Malfunction Restore | [device] in [room] has restored connection with hub over photos communication channel | R391 | PO | DataChannelRestore | R144 | TR | M_0D_31
RangeExtender
| Malfunction | external power failure, [device] in [room] | E301 | AT | ExtPowerMissing | E144 | TA | M_07_20
| Malfunction Restore | external power restored, [device] in [room] | R301 | AR | ExtPowerNorm | R144 | TR | M_07_21
| Common Event | Updaiting your [device] firmware | not send via CID | RB | not send via SMS |  |  | M_07_10
| Common Event | The firmware of your [device] has updated successfully | not send via CID | RS | not send via SMS |  |  | M_07_11
CombiProtect
| Alarm | motion detected, [device] in [room] | E130 | BA | Motion |  |  | M_08_20
| Alarm | glass break detected, [device] in [room] | E130 | BA | GlassBreak |  |  | M_08_21
FireProtect & FireProtect Plus
| Alarm | smoke detected, [device] in [room] | E111 | FA | SmokeHigh |  |  | M_03_20 M_09_20
| Alarm Restore | no smoke detected, [device] in [room] | R111 | FH | SmokeNorm |  |  | M_03_21 M_09_21
| Alarm | temperature above the threshold value, [device] in [room] | E114 | KA | TemperatureHigh |  |  | M_03_22 M_09_22
| Alarm Restore | temperature below the threshold value, [device] in [room] | R114 | KH | TemperatureNorm |  |  | M_03_23 M_09_23
| Malfunction | hardware failure, [device] in [room] | E389 | FT | BadSmokeCam |  |  | M_03_24 M_09_24
| Malfunction Restore | reset after hardware failure, [device] in [room] | R389 | FJ | NormSmokeCam |  |  | M_03_25 M_09_25
| Malfunction | smoke chamber dirty, [device] in [room] | E393 | FS | DirtyCam |  |  | M_03_26 M_09_26
| Malfunction Restore | smoke chamber clean, [device] in [room] | R393 | FJ | ClearCam |  |  | M_03_27 M_09_27
| Malfunction | low reserve battery charge, [device] in [room] | E384 | YT | ResBatteryLow |  |  | M_03_28 M_09_28
| Malfunction Restore | reserve battery charged, [device] in [room] | R384 | YR | ResBatteryNorm |  |  | M_03_29 M_09_29
| Alarm | rapid temperature rise detected, [device] in [room] | E114 | KA | TempRapidRise |  |  | M_03_2A M_09_2A
| Alarm Restore | rapid temperature rise stopped, [device] in [room] | R114 | KH | TempRiseNorm |  |  | M_03_2B M_09_2B
| Malfunction | faulty detector [device] in [room]. Please, contact the service center listed in the warranty card | not send via CID | FS | not send via SMS |  |  | M_03_2C M_09_2C
| Malfunction Restore | the smoke chamber of [device] in [room] is OK | not send via CID | FX | not send via SMS |  |  | M_03_2D M_09_2D
| Alarm | Carbon monoxide (СО) detected, [device] in [room] | E162 | GA | CoHigh |  |  | M_09_30
| Alarm Restore | Carbon monoxide (CO) level is OK, [device] in [room] | R162 | GH | CoNorm |  |  | M_09_31
Keypad
| Arming/Disarming Event | Disarmed using [device] | E409 | OP | DisarmedKeypad |  |  | M_0A_20
| Arming/Disarming Event | Armed using [device] | R409 | CL | FullArmedKeypad |  |  | M_0A_21
| Arming/Disarming Event | Night mode activated using [device] | R409 | NL | PartialArmedKeypad |  |  | M_0A_22
| Arming/Disarming Event | (GROUP MODE) Night mode activated using [device] | R442 | NL | PartialArmedKeypad |  |  | M_0A_22
| Alarm | Panic button pressed on [device] | E120 | PA | AlarmButton |  |  | M_0A_23
| Alarm | Attempt to break the password on [device] | E461 | JA | BruteforceAttempt |  |  | M_0A_30
| Arming/Disarming Event | Disarmed using [device]- duress | E423 | HA | DuressDisarm |  |  | M_0A_31
| Arming/Disarming Event | unsuccessful arming attempt using [device] | not send via CID | not send via SIA | not send via SMS |  |  | M_0A_24
| Arming/Disarming Event | unsuccessful Night mode activation attempt using [device] | not send via CID | not send via SIA | not send via SMS |  |  | M_0A_25
| Arming/Disarming Event | the system has been armed with malfunctions using [device] | R409 | CF | OverrideFullArmedKeypad |  |  | M_0A_26
| Arming/Disarming Event | Night mode activated with malfunctions using [device] | R409 | NF | OverridePartialArmedKeypad |  |  | M_0A_27
| Arming/Disarming Event | (GROUP MODE) Night mode activated with malfunctions using [device] | R442 | NF | PartialArmedKeypad |  |  | M_0A_27
| Arming/Disarming Event | Night mode deactivated using [device] | E409 | NP | PerimeterDisarmKeypad |  |  | M_0A_28
| Arming/Disarming Event | (GROUP MODE) Night mode deactivated using [device] | R442 | NP | PerimeterDisarmKeypad |  |  | M_0A_28
| Arming/Disarming Event | [group] has been disarmed using [device] | E409 | OG | GroupDisarmedKeypad or SelectiveDisarmedKeypad |  |  | M_0A_29
| Arming/Disarming Event | [group] has been armed using [device] | R409 | CG | GroupArmedKeypad or SelectiveArmedKeypad |  |  | M_0A_2A
| Arming/Disarming Event | [group] has been armed with malfunctions using [device] | R409 | CF | OverrideGroupArmedKeypad or OverrideSelectiveArmedKeypad |  |  | M_0A_2D
| Arming/Disarming Event | [group] unsuccessful arming attempt using [device] | not send via CID | not send via SIA | not send via SMS |  |  | M_0A_2E
| Arming/Disarming Event | [group] has been disarmed using [device]- duress | E423 | HA | GroupDuressDisarmedKeypad or SelectiveDuressDisarmedKeypad |  |  | M_0A_2F
| Arming/Disarming Event | Night mode deactivated using [device]- duress | E423 | ND | PerimeterDisarmKeypad |  |  | M_0A_32
Button
| Alarm | [device] panic button is pressed | E120 | PA | AlarmButton |  |  | M_0C_20
| Alarm | Fire alarm, [device] in [room] | E110 | FA | CustomFireAlarm |  |  | M_0C_30
| Alarm | Medical alarm, [device] in [room] | E100 | MA | CustomMedicalAlarm |  |  | M_0C_31
| Alarm | Gas alarm, [device] in [room] | E151 | GA | CustomGasAlarm |  |  | M_0C_32
| Alarm | Alarm signal, [device] in [room] | E130 | BA | CustomBurglaryAlarm |  |  | M_0C_33
SpaceControl
| Arming/Disarming Event | Disarmed using [device] | E409 | OP | DisarmedSpaceSensor |  |  | M_0B_20
| Arming/Disarming Event | Armed using [device] | R409 | CL | FullArmedSpaceSensor |  |  | M_0B_21
| Arming/Disarming Event | Night mode activated using [device] | R409 | NL | PartialArmedSpaceSensor |  |  | M_0B_22
| Arming/Disarming Event | (GROUP MODE) Night mode activated using [device] | R442 | NL | PartialArmedSpaceSensor |  |  | M_0B_22
| Alarm | Panic button pressed on [device] | E120 | PA | AlarmButton |  |  | M_0B_23
| Arming/Disarming Event | unsuccessful arming attempt using [device] | not send via CID | not send via SIA | not send via SMS |  |  | M_0B_24
| Arming/Disarming Event | unsuccessful Night mode activation attempt using [device] | not send via CID | not send via SIA | not send via SMS |  |  | M_0B_25
| Arming/Disarming Event | the system has been armed with malfunctions using [device] | R409 | CF | OverrideFullArmedSpaceSensor |  |  | M_0B_26
| Arming/Disarming Event | Night mode activated with malfunctions using [device] | R409 | NF | OverridePartialArmedSpaceSensor |  |  | M_0B_27
| Arming/Disarming Event | Night mode deactivated using [device] | E409 | NP | PerimeterDisarmSpaceSensor |  |  | M_0B_28
| Arming/Disarming Event | (GROUP MODE) Night mode deactivated using [device] | E442 | NP | PerimeterDisarmSpaceSensor |  |  | M_0B_28
| Arming/Disarming Event | [group] has been disarmed using [device] | E409 | OG | GroupDisarmedSpaceSensor or SelectiveDisarmedSpaceSensor |  |  | M_0B_29
| Arming/Disarming Event | [group] has been armed using [device] | R409 | CG | GroupArmedSpaceSensor or SelectiveArmedSpaceSensor |  |  | M_0B_2A
| Arming/Disarming Event | [group] has been armed with malfunctions using [device] | R409 | CF | OverrideGroupArmedSpaceSensor or OverrideSelectiveArmedSpaceSensor |  |  | M_0B_2D
| Arming/Disarming Event | [group] unsuccessful arming attempt using [device] | not send via CID | not send via SIA | not send via SMS |  |  | M_0B_2E
DoorProtect & DoorProtect Plus
| Alarm | open, [device] in [room] | E130 | BA | DoorOpen |  |  | M_01_20 M_0F_20
| Alarm Restore | closed, [device] in [room] | R130 | BR | DoorClosed |  |  | M_01_21 M_0F_21
| Alarm | external contact open, [device] in [room] | E130 | BA | ExtSwOpened |  |  | M_01_22 M_0F_22
| Alarm Restore | external contact closed, [device] in [room] | R130 | BR | AlarmRecovery |  |  | M_01_23 M_0F_23
| Alarm | alarm is detected, roller shutter [device] in [room] | E130 | BA | ShutterAlarm |  |  | M_0F_24
| Alarm | connection lost, roller shutter [device] in [room] | E381 | XL | ShutterLost |  |  | M_0F_25
| Alarm Restore | connection restored, roller shutter [device] in [room] | R381 | XC | ShutterOnline |  |  | M_0F_26
| Alarm | shock detected by [device] in [room] | E130 | BA | Shock |  |  | M_0F_30
| Alarm | tilt detected by [device] in [room] | E130 | BA | Tilt |  |  | M_0F_31
| Malfunction | the accelerometer of the [device] in [room] room doesn't work properly. Please, contact the service center listed in the warranty card | E377 | BS |  | E144 | TA | M_0F_32 | ?
| Malfunction Restore | the accelerometer of the [device] in [room] is OK | R377 | BR |  | R144 | TR | M_0F_33 | ?
Transmitter
| Alarm | alarm is detected, [device] in [room] | E130 | BA | Alarm |  |  | M_11_20
| Alarm Restore | recovered after alarm, [device] in [room] | R130 | BR | AlarmRecovery |  |  | M_11_21
| Alarm | alarm is detected, [device] in [room] (pulse mode) | E130 | BA | PulseAlarm |  |  | M_11_22
| Alarm | [device] was moved in [room] | E144 | SM | SensorAcc | E144 | TA | M_11_26
| Alarm | Fire alarm, [device] in [room] | E110 | FA | CustomFireAlarm |  |  | M_11_30
| Alarm Restore | Fire alarm is over, [device] in [room] | R110 | FH | CustomFireAlarmRestore |  |  | M_11_31
| Alarm | Fire alarm, [device] in [room] | E110 | FA | CustomFireAlarm |  |  | M_11_32
| Alarm | Medical alarm, [device] in [room] | E100 | MA | CustomMedicalAlarm |  |  | M_11_33
| Alarm Restore | Medical alarm is over, [device] in [room] | R100 | MR | CustomMedicalAlarmRestore |  |  | M_11_34
| Alarm | Medical alarm, [device] in [room] (pulse mode) | E100 | MA | CustomMedicalAlarm |  |  | M_11_35
| Alarm | Panic button is pressed, [device] in [room] | E120 | PA | CustomPanicAlarm |  |  | M_11_36
| Alarm Restore | Alarm cancellation, [device] in [room] | R120 | PH | CustomPanicAlarmRestore |  |  | M_11_37
| Alarm | Panic button is pressed, [device] in [room] | E120 | PA | CustomPanicAlarm |  |  | M_11_38
| Alarm | Gas alarm, [device] in [room] | E151 | GA | CustomGasAlarm |  |  | M_11_39
| Alarm Restore | Gas alarm is over, [device] in [room] | R151 | GH | CustomGasAlarmRestore |  |  | M_11_3A
| Alarm | Gas alarm, [device] in [room] (pulse mode) | E151 | GA | CustomGasAlarm |  |  | M_11_3B
StreetSiren
| Alarm | [device] was moved in [room] | E144 | SM | SensorAcc | E144 | TA | M_14_20
| Malfunction | external power failure, [device] in [room] | E337 | YP | ExtPowerMissing | E144 | TA | M_14_21
| Malfunction Restore | external power restored, [device] in [room] | R337 | YQ | ExtPowerNorm | R144 | TR | M_14_22
User
| Arming/Disarming Event | Disarmed by [user] | E400 | OP | Disarmed |  |  | M_22_00
| Arming/Disarming Event | Armed by [user] | R400 | CL | FullArmed |  |  | M_22_01
| Arming/Disarming Event | Night mode activated by [user] | R400 | NL | PartialArmed |  |  | M_22_02
| Arming/Disarming Event | (GROUP MODE) Night mode activated by [user] | R441 | NL | PartialArmed |  |  | M_22_02
| Alarm | [user] pressed the panic button | E120 | PA | PanicButton |  |  | M_22_03
| UserEvent | new user [user] has been added | not send via CID | not send via SIA | not send via SMS |  |  | M_22_07
| UserEvent | user [user] has been removed | not send via CID | not send via SIA | not send via SMS |  |  | M_22_08
| Arming/Disarming Event | unsuccessful arming attempt by [user] | not send via CID | not send via SIA | not send via SMS |  |  | M_22_09
| Arming/Disarming Event | unsuccessful Night mode activation attempt by [user] | not send via CID | not send via SIA | not send via SMS |  |  | M_22_0A
| Arming/Disarming Event | the system has been armed with malfunctions by [user] | R400 | CF | OverrideFullArmed |  |  | M_22_26
| Arming/Disarming Event | Night mode activated with malfunctions by [user] | R400 | NF | OverridePartialArmed |  |  | M_22_27
| Arming/Disarming Event | (GROUP MODE) Night mode activated with malfunctions by [user] | R441 | NF | OverridePartialArmed |  |  | M_22_27
| Arming/Disarming Event | Night mode deactivated by [user] | E400 | NP | PerimeterDisarm |  |  | M_22_28
| Arming/Disarming Event | (GROUP MODE) Night mode deactivated by [user] | E441 | NP | PerimeterDisarm |  |  | M_22_28
| Arming/Disarming Event | [group] has been disarmed by [user] | E400 | OG | GroupDisarmed or SelectiveDisarmed |  |  | M_22_29
| Arming/Disarming Event | [group] has been armed by [user] | R400 | CG | GroupArmed or SelectiveArmed |  |  | M_22_2A
| Arming/Disarming Event | [group] has been armed with malfunctions by [user] | R400 | CF | OverrideGroupArmed |  |  | M_22_2D
| Arming/Disarming Event | [group] unsuccessful arming attempt by [user] | not send via CID | not send via SIA | not send via SMS |  |  | M_22_2E
| Arming/Disarming Event | [group] has been disarmed by [user] - duress | E423 | HA | GroupDuressDisarmed or SelectiveDuressDisarmed |  |  | M_22_2F
| Arming/Disarming Event | Disarmed by [user]- duress | E423 | HA | DuressDisarmUser |  |  | M_22_31
| Arming/Disarming Event | Night mode deactivated by [user]- duress | E423 | ND | PerimeterDisarm |  |  | M_22_32
WallSwitch/Socket/Relay
| Alarm | overheating shutdown, [device] in the room [room] | not send via CID | not send via SIA
| Alarm Restore | Temperature is OK, [device] in [room] | not send via CID | not send via SIA
| Common Event | switched on, [device] in [room] | not send via CID | not send via SIA
| Common Event | switched off, [device] in [room] | not send via CID | not send via SIA
| Malfunction | failed to switch off [device] in the room [room]. The device may have malfunctioned. Please contact the support service. | not send via CID | not send via SIA
| Malfunction | overcurrent shutdown, [device] in the room [room] | not send via CID | not send via SIA
| Malfunction | overcurrent shutdown, [device] in the room [room] | not send via CID | not send via SIA
| Malfunction Restore | current is OK, [device] in the room [room] | not send via CID | not send via SIA
| Malfunction | overvoltage shutdown, [device] in the room [room] | not send via CID | not send via SIA
| Malfunction | low voltage shutdown, [device] in the room [room] | not send via CID | not send via SIA
| Malfunction Restore | voltage is OK, [device] in the room [room] | not send via CID | not send via SIA
| Malfunction | not responding, [device] in room [room]. Please run a Signal Strength Test. | not send via CID | not send via SIA
| Common Event | activated, [device] in [room] | not send via CID | not send via SIA

## OS Malevich 2.9
Malfunction
Malfunction Restore / Alarm Restore / Common Event |  |  |  | Unique code
Alarm
Arming/Disarming Event
| Event Type | Event description | Contact ID Code | SIA Code | SMS Pattern | if EN 50131 enabled (in development) |  | App Key
Hub Events
| Malfunction | external power failure | E301 | AT | PowerOff |  |  | M_21_00
| Malfunction Restore | external power restored | R301 | AR | PowerOn |  |  | M_21_01
| Malfunction | battery low | E302 | YT | HubBatteryLow |  |  | M_21_02
| Malfunction Restore | battery charged | R302 | YR | HubBatteryNormal |  |  | M_21_03
| Malfunction | lid open | E145 | TA | HubTamperOpened |  |  | M_21_04
| Malfunction Restore | lid closed | R145 | TR | HubTamperClosed |  |  | M_21_05
| Malfunction | radio-frequency interference level is high | E344 | XQ | HighNoise868 |  |  | M_21_08
| Malfunction Restore | radio-frequency interference level is OK | R344 | XH | NormalNoise868 |  |  | M_21_09
| Alarm | Hub is offline. Check mobile signal strength and the Ethernet port | E350 | YC | ServerDisconnect |  |  | M_21_0A
| Alarm Restore | Hub is online again | R350 | YK | ServerConnect |  |  | M_21_0B
| Common Event | [device] was switched off | E308 | ZZ | not send via SMS |  |  | M_21_0C
new event | Common Event | [device] was switched on | E305 | ZY | not send via SMS |  |  | M_21_0D
new event | Common Event | [device] was reset to factory settings | E306 | XI | not send via SMS |  |  | M_21_0E
| Common Event | updating firmware... | not send via CID | RB | not send via SMS |  |  | M_21_10
| Common Event | firmware updated | not send via CID | RS | not send via SMS |  |  | M_21_11
| Malfunction | connection to the monitoring station is lost. Check mobile signal strength and the Ethernet port on the Hub | R354 | YS | not send via SMS |  |  | M_21_13
| Malfunction | battery missing | E300 | YM | HubBatteryDisconnected |  |  | M_21_15
| Malfunction Restore | battery connected after missing | R300 | YA | HubBatteryConnected |  |  | M_21_16
| not sent to the App | new settings | E627 | YG | not send via SMS |  |  | not sent to the App
| Malfunction | high level of interference at Wings frequencies | E344 | XQ | not send via SMS |  |  | M_21_17
| Malfunction Restore | interference level at Wings frequencies is OK | R344 | XH | not send via SMS |  |  | M_21_18
| Common Event | Security company is now monitoring your hub | not send via CID | not send via SIA
| Common Event | Security company no longer monitors your hub | not send via CID | not send via SIA | DisarmedScheduledScenario |  |  | M_2A_20
Auto Arming Events |  |  |  |  | FullArmedScheduledScenario |  |  | M_2A_21
| Arming/Disarming Event | Disarmed automatically, scenario [scenario] | E403 | OA | PartialArmedScheduledScenario |  |  | M_2A_22
| Arming/Disarming Event | Armed automatically, scenario [scenario] | R403 | CA | UnsuccessfulFullArmedScheduledScenario |  |  | M_2A_24
| Arming/Disarming Event | Night mode activated automatically, scenario [scenario] | R403 | NC | UnsuccessfulPartialArmedScheduledScenario |  |  | M_2A_25
| Arming/Disarming Event | unsuccessful arming attempt, scenario [scenario] | E455 | CC | OverrideFullArmedScheduledScenario |  |  | M_2A_26
| Arming/Disarming Event | unsuccessful Night mode activation attempt, scenario [scenario] | E455 | NE | OverridePartialArmedScheduledScenario |  |  | M_2A_27
| Arming/Disarming Event | The system has been armed with malfunctions automatically, scenario [scenario] | R403 | AF | PerimeterDisarmScheduledScenario |  |  | M_2A_28
| Arming/Disarming Event | Night mode activated with malfunctions automatically, scenario [scenario] | R403 | NB | GroupDisarmedScheduledScenario or SelectiveDisarmedScheduledScenario |  |  | M_2A_29
| Arming/Disarming Event | Night mode deactivated automatically, scenario [scenario] | E403 | NO | GroupArmedScheduledScenario or SelectiveArmedScheduledScenario |  |  | M_2A_2A
| Arming/Disarming Event | [group] has been disarmed automatically, scenario [scenario] | E403 | OB | OverrideGroupArmedScheduledScenario or OverrideSelectiveArmedScheduledScenario |  |  | M_2A_2D
| Arming/Disarming Event | [group] has been armed automatically, scenario [scenario] | R403 | CB | UnsuccessfulSelectiveArmedScheduledScenario |  |  | M_2A_2E
| Arming/Disarming Event | [group] has been armed with malfunctions automatically, scenario [scenario] | R403 | AF
| Arming/Disarming Event | [group] unsuccessful arming attempt, scenario [scenario] | E455 | CD | TamperOpened |  |  | M_ABS_00
Common Device Events |  |  |  |  | TamperClosed |  |  | M_ABS_01
| Malfunction | lid open, [device] in [room] | E144 | TA | BatteryLow | E144 | TA | M_ABS_02
| Malfunction Restore | lid closed, [device] in [room] | R144 | TR | BatteryNormal | R144 | TR | M_ABS_03
| Malfunction | low battery, [device] in [room] | E384 | XT | SensorLost | E144 | TA | M_ABS_04
| Malfunction Restore | battery charged, [device] in [room] | R384 | XR | SensorNorm | R144 | TR | M_ABS_05
| Malfunction | connection lost, [device] in [room] | E381 | XL
| Malfunction Restore | connection restored, [device] in [room] | R381 | XC | GlassBreak |  |  | M_04_20
new event | Malfunction | temporarily deactivated, [device] in [room] | E570 | QB | ExtSwOpened |  |  | M_04_22
new event | Malfunction Restore | the device is active again, [device] in [room] | R570 | QU | AlarmRecovery |  |  | M_04_23
new event | Malfunction | notifications about the state of the lid are temporarily disabled, [device] in [room] | E383 | TB
new event | Malfunction Restore | notifications about the state of the lid are enabled, [device] in [room] | R383 | TU | IsLeaking |  |  | M_05_20
GlassProtect |  |  |  |  | LeakNorm |  |  | M_05_21
| Alarm | glass break detected, [device] in [room] | E130 | BA | SensorAcc |  |  | M_05_22
| Alarm | external contact open, [device] in [room] | E130 | BA
| Alarm Restore | external contact closed, [device] in [room] | R130 | BR | Motion |  |  | M_02_20, M_0E_20
LeakProtect
| Alarm | water leak detected, [device] in [room] | E154 | WA | Motion |  |  | M_13_20
| Alarm Restore | no water leak detected, [device] in [room] | R154 | WH | MaskingDetected | E144 | TA | M_13_22
| Malfunction | [device] moved in [room] | E144 | SM | MaskingNorm | R144 | TR | M_13_23
MotionProtect & MotionProtect Plus |  |  |  |  | ExtPowerMissing |  |  | M_13_24
| Alarm | motion detected, [device] in [room] | E130 | BA | ExtPowerNorm | YQ M_13_25 |  | M_13_25
MotionProtect Outdoor
| Alarm | motion detected, [device] in [room] | E130 | BA | Motion |  |  | M_06_20
| Malfunction | masking detected, check the [device] in [room] | E137 | TA | MaskingDetected | E144 | TA | M_06_22
| Malfunction Restore | masking is not detected, [device] in [room] | R137 | TR | MaskingNorm | R144 | TR | M_06_23
| Malfunction | external power failure, [device] in [room] | E337 | YP
| Malfunction Restore | external power restored, [device] in [room] | R337 | YQ | Motion |  |  | M_0D_20
MotionProtect Curtain |  |  |  |  | DataChannelLost | E144 | TA | M_0D_30
| Alarm | motion detected, [device] in [room] | E130 | BA | DataChannelRestore | R144 | TR | M_0D_31
| Malfunction | masking detected, check the [device] in [room] | E137 | TA
| Malfunction Restore | masking is not detected, [device] in [room] | R137 | TR | ExtPowerMissing | E144 | TA | M_07_20
MotionCam |  |  |  |  | ExtPowerNorm | R144 | TR | M_07_21
| Alarm | motion detected, [device] in [room] | E130 | BA | not send via SMS |  |  | M_07_10
| Malfunction | [device] in [room] has lost connection with hub over photos communication channel | E391 | PF | not send via SMS |  |  | M_07_11
| Malfunction Restore | [device] in [room] has restored connection with hub over photos communication channel | R391 | PO
RangeExtender |  |  |  |  | Motion |  |  | M_08_20
| Malfunction | external power failure, [device] in [room] | E301 | AT | GlassBreak |  |  | M_08_21
| Malfunction Restore | external power restored, [device] in [room] | R301 | AR
| Common Event | Updaiting your [device] firmware | not send via CID | RB | SmokeHigh |  |  | M_03_20 M_09_20
| Common Event | The firmware of your [device] has updated successfully | not send via CID | RS | SmokeNorm |  |  | M_03_21 M_09_21
new event | Malfunction | radio-frequency interference level is high, [device] in [room] | E344 | XQ | TemperatureHigh |  |  | M_03_22 M_09_22
new event | Malfunction Restore | radio-frequency interference level is OK, [device] in [room] | R344 | XH | TemperatureNorm |  |  | M_03_23 M_09_23
CombiProtect |  |  |  |  | BadSmokeCam |  |  | M_03_24 M_09_24
| Alarm | motion detected, [device] in [room] | E130 | BA | NormSmokeCam |  |  | M_03_25 M_09_25
| Alarm | glass break detected, [device] in [room] | E130 | BA | DirtyCam |  |  | M_03_26 M_09_26
FireProtect & FireProtect Plus |  |  |  |  | ClearCam |  |  | M_03_27 M_09_27
| Alarm | smoke detected, [device] in [room] | E111 | FA | ResBatteryLow |  |  | M_03_28 M_09_28
| Alarm Restore | no smoke detected, [device] in [room] | R111 | FH | ResBatteryNorm |  |  | M_03_29 M_09_29
| Alarm | temperature above the threshold value, [device] in [room] | E114 | KA | TempRapidRise |  |  | M_03_2A M_09_2A
| Alarm Restore | temperature below the threshold value, [device] in [room] | R114 | KH | TempRiseNorm |  |  | M_03_2B M_09_2B
| Malfunction | hardware failure, [device] in [room] | E389 | FT | not send via SMS |  |  | M_03_2C M_09_2C
| Malfunction Restore | reset after hardware failure, [device] in [room] | R389 | FJ | not send via SMS |  |  | M_03_2D M_09_2D
| Malfunction | smoke chamber dirty, [device] in [room] | E393 | FS | CoHigh |  |  | M_09_30
| Malfunction Restore | smoke chamber clean, [device] in [room] | R393 | FJ | CoNorm |  |  | M_09_31
| Malfunction | low reserve battery charge, [device] in [room] | E384 | YT
| Malfunction Restore | reserve battery charged, [device] in [room] | R384 | YR | DisarmedKeypad |  |  | M_0A_20
| Alarm | rapid temperature rise detected, [device] in [room] | E114 | KA | FullArmedKeypad |  |  | M_0A_21
| Alarm Restore | rapid temperature rise stopped, [device] in [room] | R114 | KH | PartialArmedKeypad |  |  | M_0A_22
| Malfunction | faulty detector [device] in [room]. Please, contact the service center listed in the warranty card | not send via CID | FS | PartialArmedKeypad |  |  | M_0A_22
| Malfunction Restore | the smoke chamber of [device] in [room] is OK | not send via CID | FX | AlarmButton |  |  | M_0A_23
| Alarm | Carbon monoxide (СО) detected, [device] in [room] | E162 | GA | BruteforceAttempt |  |  | M_0A_30
| Alarm Restore | Carbon monoxide (CO) level is OK, [device] in [room] | R162 | GH | DuressDisarm |  |  | M_0A_31
Keypad |  |  |  |  | not send via SMS |  |  | M_0A_24
| Arming/Disarming Event | Disarmed using [device] | E409 | OP | not send via SMS |  |  | M_0A_25
| Arming/Disarming Event | Armed using [device] | R409 | CL | OverrideFullArmedKeypad |  |  | M_0A_26
| Arming/Disarming Event | Night mode activated using [device] | R409 | NL | OverridePartialArmedKeypad |  |  | M_0A_27
| Arming/Disarming Event | (GROUP MODE) Night mode activated using [device] | R442 | NL | PartialArmedKeypad |  |  | M_0A_27
| Alarm | Panic button pressed on [device] | E120 | PA | PerimeterDisarmKeypad |  |  | M_0A_28
| Alarm | Attempt to break the password on [device] | E461 | JA | PerimeterDisarmKeypad |  |  | M_0A_28
| Arming/Disarming Event | Disarmed using [device]- duress | E423 | HA | GroupDisarmedKeypad or SelectiveDisarmedKeypad |  |  | M_0A_29
| Arming/Disarming Event | unsuccessful arming attempt using [device] | not send via CID | not send via SIA | GroupArmedKeypad or SelectiveArmedKeypad |  |  | M_0A_2A
| Arming/Disarming Event | unsuccessful Night mode activation attempt using [device] | not send via CID | not send via SIA | OverrideGroupArmedKeypad or OverrideSelectiveArmedKeypad |  |  | M_0A_2D
| Arming/Disarming Event | the system has been armed with malfunctions using [device] | R409 | CF | not send via SMS |  |  | M_0A_2E
| Arming/Disarming Event | Night mode activated with malfunctions using [device] | R409 | NF | GroupDuressDisarmedKeypad or SelectiveDuressDisarmedKeypad |  |  | M_0A_2F
| Arming/Disarming Event | (GROUP MODE) Night mode activated with malfunctions using [device] | R442 | NF | PerimeterDisarmKeypad |  |  | M_0A_32
| Arming/Disarming Event | Night mode deactivated using [device] | E409 | NP
| Arming/Disarming Event | (GROUP MODE) Night mode deactivated using [device] | R442 | NP | AlarmButton |  |  | M_0C_20
| Arming/Disarming Event | [group] has been disarmed using [device] | E409 | OG | CustomFireAlarm |  |  | M_0C_30
| Arming/Disarming Event | [group] has been armed using [device] | R409 | CG | CustomMedicalAlarm |  |  | M_0C_31
| Arming/Disarming Event | [group] has been armed with malfunctions using [device] | R409 | CF | CustomGasAlarm |  |  | M_0C_32
| Arming/Disarming Event | [group] unsuccessful arming attempt using [device] | not send via CID | not send via SIA | CustomBurglaryAlarm |  |  | M_0C_33
| Arming/Disarming Event | [group] has been disarmed using [device]- duress | E423 | HA
| Arming/Disarming Event | Night mode deactivated using [device]- duress | E423 | ND | DisarmedSpaceSensor |  |  | M_0B_20
Button |  |  |  |  | FullArmedSpaceSensor |  |  | M_0B_21
| Alarm | [device] panic button is pressed | E120 | PA | PartialArmedSpaceSensor |  |  | M_0B_22
new event | Alarm | Fire alarm, [device] in [room] | E110 | FA | PartialArmedSpaceSensor |  |  | M_0B_22
new event | Alarm | Medical alarm, [device] in [room] | E100 | MA | AlarmButton |  |  | M_0B_23
new event | Alarm | Gas alarm, [device] in [room] | E151 | GA | not send via SMS |  |  | M_0B_24
new event | Alarm | Alarm signal, [device] in [room] | E130 | BA | not send via SMS |  |  | M_0B_25
SpaceControl |  |  |  |  | OverrideFullArmedSpaceSensor |  |  | M_0B_26
| Arming/Disarming Event | Disarmed using [device] | E409 | OP | OverridePartialArmedSpaceSensor |  |  | M_0B_27
| Arming/Disarming Event | Armed using [device] | R409 | CL | PerimeterDisarmSpaceSensor |  |  | M_0B_28
| Arming/Disarming Event | Night mode activated using [device] | R409 | NL | PerimeterDisarmSpaceSensor |  |  | M_0B_28
| Arming/Disarming Event | (GROUP MODE) Night mode activated using [device] | R442 | NL | GroupDisarmedSpaceSensor or SelectiveDisarmedSpaceSensor |  |  | M_0B_29
| Alarm | Panic button pressed on [device] | E120 | PA | GroupArmedSpaceSensor or SelectiveArmedSpaceSensor |  |  | M_0B_2A
| Arming/Disarming Event | unsuccessful arming attempt using [device] | not send via CID | not send via SIA | OverrideGroupArmedSpaceSensor or OverrideSelectiveArmedSpaceSensor |  |  | M_0B_2D
| Arming/Disarming Event | unsuccessful Night mode activation attempt using [device] | not send via CID | not send via SIA | not send via SMS |  |  | M_0B_2E
| Arming/Disarming Event | the system has been armed with malfunctions using [device] | R409 | CF
| Arming/Disarming Event | Night mode activated with malfunctions using [device] | R409 | NF | DoorOpen |  |  | M_01_20 M_0F_20
| Arming/Disarming Event | Night mode deactivated using [device] | E409 | NP | DoorClosed |  |  | M_01_21 M_0F_21
| Arming/Disarming Event | (GROUP MODE) Night mode deactivated using [device] | E442 | NP | ExtSwOpened |  |  | M_01_22 M_0F_22
| Arming/Disarming Event | [group] has been disarmed using [device] | E409 | OG | AlarmRecovery |  |  | M_01_23 M_0F_23
| Arming/Disarming Event | [group] has been armed using [device] | R409 | CG | ShutterAlarm |  |  | M_0F_24
| Arming/Disarming Event | [group] has been armed with malfunctions using [device] | R409 | CF | ShutterLost |  |  | M_0F_25
| Arming/Disarming Event | [group] unsuccessful arming attempt using [device] | not send via CID | not send via SIA | ShutterOnline |  |  | M_0F_26
DoorProtect & DoorProtect Plus |  |  |  |  | Shock |  |  | M_0F_30
| Alarm | open, [device] in [room] | E130 | BA | Tilt |  |  | M_0F_31
| Alarm Restore | closed, [device] in [room] | R130 | BR |  | E144 | TA | M_0F_32 | ?
| Alarm | external contact open, [device] in [room] | E130 | BA |  | R144 | TR | M_0F_33 | ?
| Alarm Restore | external contact closed, [device] in [room] | R130 | BR
| Alarm | alarm is detected, roller shutter [device] in [room] | E130 | BA | Alarm |  |  | M_11_20
| Alarm | connection lost, roller shutter [device] in [room] | E381 | XL | AlarmRecovery |  |  | M_11_21
| Alarm Restore | connection restored, roller shutter [device] in [room] | R381 | XC | PulseAlarm |  |  | M_11_22
| Alarm | shock detected by [device] in [room] | E130 | BA | SensorAcc | E144 | TA | M_11_26
| Alarm | tilt detected by [device] in [room] | E130 | BA | CustomFireAlarm |  |  | M_11_30
| Malfunction | the accelerometer of the [device] in [room] room doesn't work properly. Please, contact the service center listed in the warranty card | E377 | BS | CustomFireAlarmRestore |  |  | M_11_31
| Malfunction Restore | the accelerometer of the [device] in [room] is OK | R377 | BR | CustomFireAlarm |  |  | M_11_32
Transmitter |  |  |  |  | CustomMedicalAlarm |  |  | M_11_33
| Alarm | alarm is detected, [device] in [room] | E130 | BA | CustomMedicalAlarmRestore |  |  | M_11_34
| Alarm Restore | recovered after alarm, [device] in [room] | R130 | BR | CustomMedicalAlarm |  |  | M_11_35
| Alarm | alarm is detected, [device] in [room] (pulse mode) | E130 | BA | CustomPanicAlarm |  |  | M_11_36
| Alarm | [device] was moved in [room] | E144 | SM | CustomPanicAlarmRestore |  |  | M_11_37
new event | Alarm | Fire alarm, [device] in [room] | E110 | FA | CustomPanicAlarm |  |  | M_11_38
new event | Alarm Restore | Fire alarm is over, [device] in [room] | R110 | FH | CustomGasAlarm |  |  | M_11_39
new event | Alarm | Fire alarm, [device] in [room] | E110 | FA | CustomGasAlarmRestore |  |  | M_11_3A
new event | Alarm | Medical alarm, [device] in [room] | E100 | MA | CustomGasAlarm |  |  | M_11_3B
new event | Alarm Restore | Medical alarm is over, [device] in [room] | R100 | MR
new event | Alarm | Medical alarm, [device] in [room] (pulse mode) | E100 | MA | SensorAcc | E144 | TA | M_14_20
new event | Alarm | Panic button is pressed, [device] in [room] | E120 | PA | ExtPowerMissing | E144 | TA | M_14_21
new event | Alarm Restore | Alarm cancellation, [device] in [room] | R120 | PH | ExtPowerNorm | R144 | TR | M_14_22
new event | Alarm | Panic button is pressed, [device] in [room] | E120 | PA
new event | Alarm | Gas alarm, [device] in [room] | E151 | GA | Disarmed |  |  | M_22_00
new event | Alarm Restore | Gas alarm is over, [device] in [room] | R151 | GH | FullArmed |  |  | M_22_01
new event | Alarm | Gas alarm, [device] in [room] (pulse mode) | E151 | GA | PartialArmed |  |  | M_22_02
StreetSiren & StreetSiren DoubleDeck |  |  |  |  | PartialArmed |  |  | M_22_02
| Alarm | [device] was moved in [room] | E144 | SM | PanicButton |  |  | M_22_03
| Malfunction | external power failure, [device] in [room] | E337 | YP | not send via SMS |  |  | M_22_07
| Malfunction Restore | external power restored, [device] in [room] | R337 | YQ | not send via SMS |  |  | M_22_08
User |  |  |  |  | not send via SMS |  |  | M_22_09
| Arming/Disarming Event | Disarmed by [user] | E400 | OP | not send via SMS |  |  | M_22_0A
| Arming/Disarming Event | Armed by [user] | R400 | CL | OverrideFullArmed |  |  | M_22_26
| Arming/Disarming Event | Night mode activated by [user] | R400 | NL | OverridePartialArmed |  |  | M_22_27
| Arming/Disarming Event | (GROUP MODE) Night mode activated by [user] | R441 | NL | OverridePartialArmed |  |  | M_22_27
| Alarm | [user] pressed the panic button | E120 | PA | PerimeterDisarm |  |  | M_22_28
| UserEvent | new user [user] has been added | not send via CID | not send via SIA | PerimeterDisarm |  |  | M_22_28
| UserEvent | user [user] has been removed | not send via CID | not send via SIA | GroupDisarmed or SelectiveDisarmed |  |  | M_22_29
| Arming/Disarming Event | unsuccessful arming attempt by [user] | not send via CID | not send via SIA | GroupArmed or SelectiveArmed |  |  | M_22_2A
| Arming/Disarming Event | unsuccessful Night mode activation attempt by [user] | not send via CID | not send via SIA | OverrideGroupArmed |  |  | M_22_2D
| Arming/Disarming Event | the system has been armed with malfunctions by [user] | R400 | CF | not send via SMS |  |  | M_22_2E
| Arming/Disarming Event | Night mode activated with malfunctions by [user] | R400 | NF | GroupDuressDisarmed or SelectiveDuressDisarmed |  |  | M_22_2F
| Arming/Disarming Event | (GROUP MODE) Night mode activated with malfunctions by [user] | R441 | NF | DuressDisarmUser |  |  | M_22_31
| Arming/Disarming Event | Night mode deactivated by [user] | E400 | NP | PerimeterDisarm |  |  | M_22_32
| Arming/Disarming Event | (GROUP MODE) Night mode deactivated by [user] | E441 | NP
| Arming/Disarming Event | [group] has been disarmed by [user] | E400 | OG
| Arming/Disarming Event | [group] has been armed by [user] | R400 | CG
| Arming/Disarming Event | [group] has been armed with malfunctions by [user] | R400 | CF
| Arming/Disarming Event | [group] unsuccessful arming attempt by [user] | not send via CID | not send via SIA
| Arming/Disarming Event | [group] has been disarmed by [user] - duress | E423 | HA
| Arming/Disarming Event | Disarmed by [user]- duress | E423 | HA
| Arming/Disarming Event | Night mode deactivated by [user]- duress | E423 | ND
WallSwitch/Socket/Relay
| Alarm | overheating shutdown, [device] in the room [room] | not send via CID | not send via SIA
| Alarm Restore | Temperature is OK, [device] in [room] | not send via CID | not send via SIA
| Common Event | switched on, [device] in [room] | not send via CID | not send via SIA
| Common Event | switched off, [device] in [room] | not send via CID | not send via SIA
| Malfunction | failed to switch off [device] in the room [room]. The device may have malfunctioned. Please contact the support service. | not send via CID | not send via SIA
| Malfunction | overcurrent shutdown, [device] in the room [room] | not send via CID | not send via SIA
| Malfunction | overcurrent shutdown, [device] in the room [room] | not send via CID | not send via SIA
| Malfunction Restore | current is OK, [device] in the room [room] | not send via CID | not send via SIA
| Malfunction | overvoltage shutdown, [device] in the room [room] | not send via CID | not send via SIA
| Malfunction | low voltage shutdown, [device] in the room [room] | not send via CID | not send via SIA
| Malfunction Restore | voltage is OK, [device] in the room [room] | not send via CID | not send via SIA
| Malfunction | not responding, [device] in room [room]. Please run a Signal Strength Test. | not send via CID | not send via SIA
| Common Event | activated, [device] in [room] | not send via CID | not send via SIA
MultiTransmitter
new event | Malfunction | external power has been disconnected, [device] in [room] | E337 | YP
new event | Malfunction Restore | external power has been restored, [device] in [room] | R337 | YQ
new event | Malfunction | battery has been disconnected, [device] in [room] | E311 | YM
new event | Malfunction Restore | battery has been connected, [device] in [room] | R311 | YA
new event | Alarm | power supply terminal for detectors is shorted out, [device] in [room] | E142 | BS
new event | Alarm Restore | detectors power supply has been restored, [device] in [room] | R142 | BJ
new event | Alarm | fire detector power supply terminal is shorted out, [device] in [room] | E142 | BS
new event | Alarm Restore | fire detector power supply has been restored, [device] in [room] | R142 | BJ
MultiTransmitter Wire Inputs
new event | Alarm | alarm is detected, [device] in [room] | E130 | BA
new event | Alarm Restore | recovered after alarm, [device] in [room] | R130 | BR
new event | Alarm | alarm is detected, [device] in [room] | E130 | BA
new event | Alarm | contact is shorted out, [device] in [room] | E142 | BS
new event | Alarm Restore | contact has been restored, [device] in [room] | R142 | BJ
new event | Alarm | lost contact, [device] in [room] | E142 | BS
new event | Alarm | Fire alarm, [device] in [room] | E110 | FA
new event | Alarm Restore | Fire alarm is over, [device] in [room] | R110 | FH
new event | Alarm | Fire alarm, [device] in [room] | E110 | FA
new event | Alarm | Medical alarm, [device] in [room] | E100 | MA
new event | Alarm Restore | Medical alarm is over, [device] in [room] | R100 | MR
new event | Alarm | Medical alarm, [device] in [room] (pulse mode) | E100 | MA
new event | Alarm | Panic button is pressed, [device] in [room] | E120 | PA
new event | Alarm Restore | Alarm cancellation, [device] in [room] | R120 | PH
new event | Alarm | Panic button is pressed, [device] in [room] | E120 | PA
new event | Alarm | Gas alarm, [device] in [room] | E151 | GA
new event | Alarm Restore | Gas alarm is over, [device] in [room] | R151 | GH
new event | Alarm | Gas alarm, [device] in [room] (pulse mode) | E151 | GA

## Лист4 (hidden)
Слать фото | Слать видео | Результат на пульте
0 | 0 | придет только тревога по движению
0 | 1 | придет тревога по движению + тревога с видео, как только оно будет доступно
1 | 0 | придет тревога по движению + N тревог с фото по мере их поступления
1 | 1 | придет тревога по движению + N тревог с фото по мере их поступления + тревога с видео, как только оно будет доступно